Content and Layout of the Form EIA-923

Electric Power Generation and Fuel Consumption

Monthly Time Series File

Preliminary Data File for 2009

Revised April 2009

Background

The Form EIA-923, “Power Plant Operations Report,” is used to collect monthly plant-level data on generation, fuel consumption, stocks, and fuel heat content from utility and non-utility power plants and for combined heat and power plants.  Prior to 2008, the Form EIA-906 collected monthly plant level data on generation, fuel consumption, stocks, and fuel heat content from utility and nonutility power plants, and the Form EIA-920  was used to collect similar data from combined heat and power (CHP) plants.

Data is collected monthly from a model-based sample of plants.  A regression-based imputation procedure is used to estimate state and national totals from the sample.  After the end of the calendar year, annual data is collected from all plants not in the sample.  The data for a calendar year, including the monthly and annual collections, is finalized by November of the subsequent calendar year.

For 2008 data collection, the sample was extensively revised and reduced in size.  At the beginning of 2008, the data collection frame for the EIA-923 consisted of approximately the following number of plants:

|  | Monthly Sample |  | Annual Collection |  | Total |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Utility | Non-Utility | Utility | Non-Utility | Utility | Non-Utility | All Plants |
| Plants | 791 | 799 | 1834 | 1903 | 2625 | 2702 | 5327 |

The facility level data included in the file is observed data collected from the sample.  Values may be imputed (estimated) for either of three reasons: because the facility is part of the sample, the facility did not respond in whole or part to the survey, or the observed data failed edits and could not be corrected or verified.  The imputation procedure involves using a statistical (regression) technique to estimate generation, fuel consumption, and stocks.  The imputation methodology is described in more detail in the technical notes to the Electric Power Monthly.  The imputed data is not shown at the plant level; it is presented as aggregated records at the state/fuel type level.  Note that if any of the data for a facility is imputed, all of its data is rolled into the aggregated records.

For confidentiality reasons, fuel stocks are not displayed at the facility level.  The stocks table shows data at the state and census region level.

To download copies and for more information about the Electric Power Division’s electric power industry survey forms, and model based sampling, please see http://www.eia.doe.gov/cneaf/electricity/page/forms.html.

File Layout

The data is stored as a Microsoft Excel workbook which includes both utility and non-utility plants.  The workbook is divided into three pages:

- Page 1: Generation and Fuel Data

- Page 2: Stocks Data

- Page 3: Layout information (i.e., contains this layout file).

The contents of the Page 1 Generation and Fuel Data are described in the following six tables and maps:

Table 1:  File Layout

Table 2: Sector Codes and Names

Table 3: Fuel Codes

Table 4: Prime Mover Codes

Table 5 and Map 1: Census Regions

Table 6 and Map 2: NERC Regions and Sub-Regions

The stocks data table (Page 2) includes monthly stocks information for coal (excluding waste coal), petroleum liquids (distillate oil, residual oil, kerosene, jet fuel, and other fuel oils), and petroleum coke.  The stocks information is presented at the census division and state (or state grouping level).  The stocks data cannot be further disaggregated due to data confidentiality.

# Table 1   File Layout

| Column | Field Name | Content | Notes |
| --- | --- | --- | --- |
| A | Facility ID | EIA plant identification number. | One to five digit numeric. |
| B | Combined Heat & Power Plant | Whether or not the plant is a combined heat & power facility (cogenerator). | One character alphanumeric, “Y” or “N” |
| C | Nuclear Unit I.D. | For nuclear plants only, the unit number. | One digit numeric. Nuclear plants are the only type of plant for which data is shown explicitly at the generating unit level. |
| D | Facility Name | Facility name. | Alphanumeric |
| E | Operator Name | The name of the entity which operates the plant. | Alphanumeric |
| F | Operator ID | The EIA operator identification number | Five digit numeric, padded with leading zeros. |
| G | State | State the facility is located in. | Two character alphanumeric (standard state postal codes). |
| H | Census Region | The census region the state is located in. | Three to five character alphanumeric. See Table 5 and Map 1 for census region codes and locations. |
| I | NERC Region | The North American Electric Reliability Council (NERC) region the plant in located in. | Alphanumeric. See Table 6 and Map 2 for NERC region codes and locations. |
| J | Reserved |  |  |
| K | NAICS Code | The facility’s North American Industrial Classification System (NAICS) code. | Numeric. For information on the NAICS system, see: http://www.census.gov/epcd/www/naics.html |
| L | EIA Sector Number | EIA’s internal consolidated NAICS sectors. | For internal purposes, EIA consolidates the NAICS categories into seven groups. These are shown below in the Sector Codes and Names table. |
| M | Sector Name | EIA sector name. | The shorthand name used internally by EIA for the seven sector codes (see Column F). These are shown below in the Sector Codes and Names table. |
| N | Reported Prime Mover | Type of prime mover. | See Prime Mover table (Table 4) , below. |
| O | Reported Fuel Type Code | The fuel code reported to EIA. | Two or three letter alphanumeric. See the Fuel Code table (Table 3), below. |
| P | AER Fuel Type Code | A partial aggregation of the reported fuel type codes into larger categories used by EIA in, for example, the Annual Energy Review (AER). | Two or three letter alphanumeric. See the Fuel Code table (Table 3), below. |
| Q | Reserved |  | Numeric |
| R | Reserved |  | Numeric |
| S | Physical Unit Label | The type of physical units fuel consumption is reported in. | All consumption is reported in either short tons for solids, thousands of cubic feet for gases, and barrels for liquids. |
| T TO AE | QUANTITY_[Month] | Consumption of the fuel type specified in Column I, in physical units. | Numeric. Note: this is the total quantity consumed for both electricity and, in the case of combined heat and power plants, process steam production. |
| AF TO AQ | ELEC_QUANTITY_[Month] | Consumption for electric generation of the fuel type specified in Column I, in physical units. | Numeric. |
| AR TO BC | MMBTU_PER_UNIT_[Month] | Heat content of the fuel in millions of BTUs per physical unit. | Numeric |
| BD TO BO | TOT_MMBTU_[Month] | Total consumption the fuel specified in Column I, in millions of BTUs. | Numeric Note: this is the total quantity consumed for both electricity and, in the case of combined heat and power plants, process steam production. |
| BP TO CA | ELEC_MMBTUS_[Month] | Consumption of fuel in millions of BTUs for the purpose of generating electricity. | These fields are most relevant to cogenerators. For non-cogenerators, the data in these fields and in columns AK through AV (total fuel consumed) will be identical. |
| CM | NETGEN_[Month] | Net generation of electricity. | Numeric. This is total electrical output net of station service. In the case of cogenerators, this value is intended to include internal consumption of electricity for the purposes of a production process, as well as power put on the grid. |
| CN | TOTAL FUEL CONSUMPTION QUANTITY | Total consumption of fuel in physical units, year to date. | Numeric Note: this is the total quantity consumed for both electricity and, in the case of combined heat and power plants, process steam production. |
| CO | ELECTRIC FUEL CONSUMPTION QUANTITY | Total consumption of fuel to produce electricity,in physical units, year to date. | Numeric |
| CP | TOTAL FUEL CONSUMPTION MMBTUS | Total consumption of fuel in MMBtus, year to date. | Numeric Note: this is the total quantity consumed for both electricity and, in the case of combined heat and power plants, process steam production. |
| CQ | ELEC FUEL CONSUMPTION MMBTUS | Consumption of fuel in millions of BTUs for the purpose of generating electricity, year to date | This field is most relevant to cogenerators. For non-cogenerators, the data in this field and in column BV (total fuel consumed) will be identical. |
| CR | NET GENERATION (MEGAWATTHOURS) | Net generation, year to date | Numeric. This is total electrical output net of station service. In the case of cogenerators, this value is intended to include internal consumption of electricity for the purposes of a production process, as well as power put on the grid. |

# Table 2  Sector Codes and Names

| Sector Number | Sector Name | Explanation |
| --- | --- | --- |
| 1 | Electric Utility | Traditional regulated electric utilities. |
| 2 | NAICS-22 Non-Cogen | Independent power producers which are not cogenerators. |
| 3 | NAICS-22 Cogen | Independent power producers which are cogenerators, but whose primary business purpose is the sale of electricity to the public. |
| 4 | Commercial NAICS Non-Cogen | Commercial non-cogeneration facilities that produce electric power, are connected to the grid, and can sell power to the public. |
| 5 | Commercial NAICS Cogen | Commercial cogeneration facilities that produce electric power, are connected to the grid, and can sell power to the public. |
| 6 | Industrial NAICS Non-Cogen | Industrial non-cogeneration facilities that produce electric power, are connected to the grid, and can sell power to the public. |
| 7 | Industrial NAICS Cogen | Industrial cogeneration facilities that produce electric power, are connected to the grid, and can sell power to the public. |

# Table 3  Fuel Codes

|  |  | Reported Energy Source Code | Unit Label | AER (Aggregated) Fuel Code | Energy Source Description |
| --- | --- | --- | --- | --- | --- |
| Fossil and Nuclear Fuels |  |  |  |  |  |
| Coal and Syncoal |  | BIT | tons | COL | Anthracite Coal and Bituminous Coal |
|  |  | LIG | tons | COL | Lignite Coal |
|  |  | SUB | tons | COL | Sub-bituminous Coal |
|  |  | WC | tons | WOC | Waste/Other Coal (includes anthracite culm, bituminous gob, fine coal, lignite waste, waste coal) |
|  |  | SC | tons | COL | Coal-based Synfuel, including briquettes, pellets, or extrusions, which are formed by binding materials or processes that recycle materials |
| Petroleum Products |  | DFO | barrels | DFO | Distillate Fuel Oil (Diesel, No. 1, No. 2, and No. 4 Fuel Oils) |
|  |  | JF | barrels | WOO | Jet Fuel |
|  |  | KER | barrels | WOO | Kerosene |
|  |  | PC | tons | PC | Petroleum Coke |
|  |  | RFO | barrels | RFO | Residual Fuel Oil (No. 5, No. 6 Fuel Oils, and Bunker C Fuel Oil) |
|  |  | WO | barrels | WOO | Waste/Other Oil (including Crude Oil, Liquid Butane, Liquid Propane, Oil Waste, Re-Refined Motor Oil, Sludge Oil, Tar Oil, or other petroleum-based liquid wastes) |
| Natural Gas and Other Gases |  | NG | Mcf | NG | Natural Gas |
|  |  | BFG | Mcf | OOG | Blast Furnace Gas |
|  |  | OG | Mcf | OOG | Other Gas |
|  |  | PG | Mcf | OOG | Gaseous Propane |
| Nuclear |  | NUC | N/A | NUC | Nuclear Fission (Uranium, Plutonium, Thorium) |
| Renewable Fuels |  |  |  |  |  |
|  | AB |  | tons | ORW | Agricultural Crop Byproducts/Straw/Energy Crops |
|  | MSB |  | tons | MLG | Municipal Solid Waste – Biogenic component |
|  | OBS |  | tons | ORW | Other Biomass Solids |
|  | WDS |  | tons | WWW | Wood/Wood Waste Solids (paper pellets, railroad ties, utility poles, wood chips, bark, an other wood waste solids) |
|  | OBL |  | barrels | ORW | Other Biomass Liquids (specify in Comments) |
|  | BLQ |  | tons | WWW | Black Liquor |
|  | SLW |  | tons | ORW | Sludge Waste |
|  | WDL |  | barrels | WWW | Wood Waste Liquids excluding Black Liquor (BLQ) (Includes red liquor, sludge wood, spent sulfite liquor, and other wood-based liquids) |
|  | LFG |  | Mcf | MLG | Landfill Gas |
|  | OBG |  | Mcf | ORW | Other Biomass Gas(includes digester gas, methane, and other biomass gases) |
|  | GEO |  | N/A | GEO | Geothermal |
|  | WAT |  | N/A | HYC | Water at a Conventional Hydroelectric Turbine |
|  | SUN |  | N/A | SUN | Solar |
|  | WND |  | N/A | WND | Wind |
| All Other Fuels |  |  |  |  |  |
|  |  | WAT | N/A | HPS | Hydroelectric Pumped Storage |
|  |  | PUR | N/A | OTH | Purchased Steam |
|  |  | TDF | tons | ORW | Tire-derived Fuels |
|  |  | OTH | N/A | OTH | Other |
|  |  | MSN | tons | OTH | Municipal Solid Waste – Non-biogenic components |

# Municipal solid waste (formerly fuel code MSW) consumption for generation of electric power has been split into biogenic and non-biogenic components.  Biogenic MSW, now MSB, is included in Other Renewables (ORW), while non-biogenic MSW, now MSN, is included under the Other (OTH) category.  More information about the methodology used to split reported MSW into these components can be found in the Appendix C, Technical Notes, to the Electric Power Monthly at http://www.eia.doe.gov/cneaf/electricity/epm/epm.pdf.

| AER Fuel Type Description |  |
| --- | --- |
| SUN | Solar PV and thermal |
| COL | Coal |
| DFO | Distillate Petroleum |
| GEO | Geothermal |
| HPS | Hydroelectric Pumped Storage |
| HYC | Hydroelectric Conventional |
| MLG | Municipal Solid Waste and Landfill Gas |
| NG | Natural Gas |
| NUC | Nuclear |
| OOG | Other Gases |
| ORW | Other Renewables and Waste |
| OTH | Other |
| PC | Petroleum Coke |
| RFO | Residual Petroleum |
| WND | Wind |
| WOC | Waste Coal |
| WOO | Waste Oil |
| WWW | Wood and Wood Waste |

# Table 4  Prime Mover Codes

| PRIME MOVER TYPE CODES | Prime Mover Type Prime Mover Description ST Steam Turbine, including nuclear, geothermal and solar steam (does not include combined cycle) BT Turbines Used in a Binary Cycle (geothermal) GT Combustion (Gas) Turbine (includes jet engine design) IC Internal Combustion (diesel, piston) Engine CT Combined Cycle Combustion – Turbine Part CA Combined Cycle – Steam Part CS Combined Cycle Single Shaft (combustion turbine and steam turbine share a single generator) HY Hydraulic Turbine (includes turbines associated with delivery of water by pipeline) PS Hydraulic Turbine – Reversible (pumped storage) PV Photovoltaic WT Wind Turbine CE Compressed Air Energy Storage FC Fuel Cell OT Other |
| --- | --- |

# Table 5 Census Regions and Codes

| Region | Abbreviation |
| --- | --- |
| New England | NEW |
| Middle Atlantic | MAT |
| South Atlantic | SAT |
| East South Central | ESC |
| West South Central | WSC |
| East North Central | ENC |
| West North Central | WNC |
| Mountain | MTN |
| Pacific |  |
| Pacific Contiguous (Oregon, Washington, and California) | PACC |
| Pacific Non-Contiguous (Alaska and Hawaii) | PACN |

# Map 1  Census Regions

# Table 6  NERC Regions and Codes

| Region | Code |
| --- | --- |
| Northeast Power Coordinating Council | NPCC |
| Midwest Reliability Organization | MRO |
| SERC Reliability Corporation | SERC |
| Reliability First Corporation | RFC |
| Southwest Power Pool | SPP |
| Texas Regional Entity | TRE |
| Florida Reliability Coordinating Council | FRCC |
| Western Electricity Coordinating Council | WECC |

# Map 2  NERC Regions